# AutoISF Coded Automations - Current Code Registry (DRAFT)

Current-code audit dated 2026-09-18. This document lists all 180 distinct readyToRun() keys found directly in OpenAPSAutoISFPlugin.kt today, in source appearance order -- generated straight from source rather than from core/utils/CodedAutomationNames.kt, which was found to be stale by 45 keys (139 vs this file's 180) during this audit. The summary column is extracted from the comments attached to each current readyToRun()/markRun() handler; it supersedes the obsolete 2026-08-21, 118-key snapshot. This is a DRAFT for review, not yet swapped into the main manual.

Registry meaning. EXACT and CLOSE matching are used only to decide whether a native Automation-tab item plausibly duplicates a coded automation. Non-matching native automations are not suppressed. Command/setting-relay rows are included because they are coded automation handlers even though their trigger is a List/TT command rather than an autonomous glucose rule. Disabled handlers remain listed and are labelled by their current source comments. A handful of automations (e.g. LowBgTierAReset, VirtualPseudoWizard) gate their action through a throttleKey/local variable rather than a literal readyToRun("...") call and so do not appear as a distinct row here even though they exist in source -- see the accompanying note for the full list of those.

| # | Current coded key | Type | Current code definition / criteria and action |
| --- | --- | --- | --- |
| 1 | ProfileBatchRevertC | Operational automation | Toggle3 / hold-TierC: StandardCurrent+LowCurrent to StandardTierC/LowTierC. Same SteroidsON leave-alone as Toggle2. No-op (no SMS) when already on C. |
| 2 | ProfileBatchStep | Operational automation | One step on the Steroids Off map only: LowA→B→C→StdA→B→C. No SteroidTier rungs. Down is the reverse (StdA→LowC; lock-step B/C rungs step down together). |
| 3 | BolusGivenMild | Bolus/post-bolus | Defer (not consume the 45-min cooldown -- just skip THIS 15-min check, try again next time) while a boost/rise is actively in progress. Added 2026-09-13 after a real collision: a Shizuku auto-install kill+relaunch on Virtual landed right as HiBrkDayMid/P120 was about to fire, and the app was down through that whole ~0.96U dosing window -- Virtual's IOB then ran ~0.7-1.0U behind Client's for the rest of the evening, not from any dosing-logic difference, just from missing that one window entirely. This can't fully eliminate the risk (a rise can still start moments after an install already begins), but it stops the install from deliberately landing ON TOP of a boost that's already firing or just fired. activeTtMgdl() covers BMild/bg3/HiBrk/Giv (all TT-owning while active); the throttle checks catch a boost that already fired and released its TT within the last 5 min. |
| 4 | BolusGivenBg3 | Bolus/post-bolus | Defer (not consume the 45-min cooldown -- just skip THIS 15-min check, try again next time) while a boost/rise is actively in progress. Added 2026-09-13 after a real collision: a Shizuku auto-install kill+relaunch on Virtual landed right as HiBrkDayMid/P120 was about to fire, and the app was down through that whole ~0.96U dosing window -- Virtual's IOB then ran ~0.7-1.0U behind Client's for the rest of the evening, not from any dosing-logic difference, just from missing that one window entirely. This can't fully eliminate the risk (a rise can still start moments after an install already begins), but it stops the install from deliberately landing ON TOP of a boost that's already firing or just fired. activeTtMgdl() covers BMild/bg3/HiBrk/Giv (all TT-owning while active); the throttle checks catch a boost that already fired and released its TT within the last 5 min. |
| 5 | BolusGiven | Bolus/post-bolus | Defer (not consume the 45-min cooldown -- just skip THIS 15-min check, try again next time) while a boost/rise is actively in progress. Added 2026-09-13 after a real collision: a Shizuku auto-install kill+relaunch on Virtual landed right as HiBrkDayMid/P120 was about to fire, and the app was down through that whole ~0.96U dosing window -- Virtual's IOB then ran ~0.7-1.0U behind Client's for the rest of the evening, not from any dosing-logic difference, just from missing that one window entirely. This can't fully eliminate the risk (a rise can still start moments after an install already begins), but it stops the install from deliberately landing ON TOP of a boost that's already firing or just fired. activeTtMgdl() covers BMild/bg3/HiBrk/Giv (all TT-owning while active); the throttle checks catch a boost that already fired and released its TT within the last 5 min. |
| 6 | UamBst | Operational automation | Defer (not consume the 45-min cooldown -- just skip THIS 15-min check, try again next time) while a boost/rise is actively in progress. Added 2026-09-13 after a real collision: a Shizuku auto-install kill+relaunch on Virtual landed right as HiBrkDayMid/P120 was about to fire, and the app was down through that whole ~0.96U dosing window -- Virtual's IOB then ran ~0.7-1.0U behind Client's for the rest of the evening, not from any dosing-logic difference, just from missing that one window entirely. This can't fully eliminate the risk (a rise can still start moments after an install already begins), but it stops the install from deliberately landing ON TOP of a boost that's already firing or just fired. activeTtMgdl() covers BMild/bg3/HiBrk/Giv (all TT-owning while active); the throttle checks catch a boost that already fired and released its TT within the last 5 min. |
| 7 | HighDaytimeBrake | Operational automation | HighDaytimeBrake: daytime counterpart to HighEveNightBrake above, added 2026-08-29 at explicit request. High band (>=9.0, x2, HiBrkDay) stays the exact complement of the night brake (06:00-22:00 vs 22:00-06:00) so the two 9.0/x2 paths never overlap. Mid band (>6.5, x1.5, HiBrkDayMid) was extended 2026-09-01 from 22:00 to 02:00: after 22:00, night HiBrk only covers >=9.0 (bar raised from 7.5 on 2026-08-29 because ~8.0-8.1 felt too low for the x2 path), which left 6.5-9.0 plateaus untreated until morning. Mid is the gentler x1.5 lever for that gap, not a reopening of the night x2 bar. End pulled back 02:00→01:30 on 6 Sep 2026 (explicit request); mid-band START pulled 06:00→08:30 on 7 Sep 2026 (explicit request) after a 06:14 HiBrkDayMid fire on flat BG ~7.0 stacked IOB 0.3→1.1 and drove a 4.7 an hour later. |
| 8 | HighEveNightBrake | Operational automation | HighEveNightBrake: coded port of the "5-min IOB change too high" brake idea from the 27-28 Aug investigation, added 2026-08-28, revised same day after a real gap was found: dropping the native trigger's flat-BG requirement meant this could fire an aggressive low TT DURING an active rise, and the one-time pre-fire brake had no say over the following 5 minutes -- everything downstream (core SMB math against the lower target, plus any of BolusGiven/BolusGivenMild's own Delta/SDelta-gated branches) could compound past the brake entirely. Two changes fix that: the flat-BG gate is back (native's own values, not an approximation -- see below), and the IOB brake now also runs CONTINUOUSLY while the TT it set is active, cutting it short rather than only ever gating the initial decision. |
| 9 | MJ4 | Validation/test | Code port of the "Test" automation (MJ=MJ4). Self-guarding: state change prevents re-fire. 5-min floor throttle (see readyToRun() usage note near its declaration). |
| 10 | MJ5 | Validation/test | Code port of the "Test2" automation (MJ=MJ5): also switches to Current ProfileReal for 30 min. |
| 11 | Test3 | Validation/test | Code port of the "Test3" automation (MJ=MJ6): validates the state-check -> notification -> state-set mechanics, including the graph-announcement fix (addGraphAnnouncement). Original screenshot's "Min interval (min): 1" is below the 5-min floor now applied across all ported automations that lack their own interval, so this uses 5 rather than 1. Self-guarding: the state-set action moves MJ away from MJ6, so it fires once per cycle that reaches MJ6. |
| 12 | MJ2old | Mounjaro state | MJ2 old: advances MJ state from "MJ active" → MJ2 at 02:10–03:10 AM |
| 13 | MJ3old | Mounjaro state | MJ3 old: advances MJ state from MJ2 → MJ3 at 01:05–02:05 AM |
| 14 | MJoff | Mounjaro state | MJoff old: exits MJ cycle when MJ3 active Block 1: 12:00–21:04 with BGL >= 10.5 mmol. Block 2: midnight 00:00–01:00. |
| 15 | PrepareSet50 | Hypoglycaemia protection | prepare Set50%: replaces "prepare Set50%0.07 50%" automation Precondition guard: profile_percentage == 100. Once the 50% profile switch fires, profile_percentage becomes 50 on the next loop cycle and the block stops running. All 4 blocks also check Profile pct = 100 in the original; the outer guard handles that. 5-min floor throttle added on top of the precondition (see readyToRun() usage note). |
| 16 | LibreOver12Backfill | Operational automation | OldSensorAdj: Libre special settings for an aging sensor (12-15 days) — swings high/low too easily and isn't compensated by the usual slope/offset calibration. Mirrored at the other end of the sensor's life too (0-3 days): a brand-new sensor has its own settling/compression artifact inaccuracy, easing back toward normal as it moves away from insertion, same as it eases away from the 12-15 day window as it ages — day 0 (<1 day, the WHOLE first day, no separate <6h sub-tier) mirrors the MOST extreme 14-15 day tier (0.65/1.6), day 1 mirrors 13-14 (0.68/1.5), day 2 mirrors 12-13 (0.70/1.45). Tiered FslCalSlope/FslCalOffset override applies by sensor age (no MJ/hypo-state or cannula-age gating). The configured LibreSlope_orig/LibreOffset_orig pair is the explicit baseline. |
| 17 | SensorAgeAutoOff | Device/pump/sensor | OldSensorAdj: Libre special settings for an aging sensor (12-15 days) — swings high/low too easily and isn't compensated by the usual slope/offset calibration. Mirrored at the other end of the sensor's life too (0-3 days): a brand-new sensor has its own settling/compression artifact inaccuracy, easing back toward normal as it moves away from insertion, same as it eases away from the 12-15 day window as it ages — day 0 (<1 day, the WHOLE first day, no separate <6h sub-tier) mirrors the MOST extreme 14-15 day tier (0.65/1.6), day 1 mirrors 13-14 (0.68/1.5), day 2 mirrors 12-13 (0.70/1.45). Tiered FslCalSlope/FslCalOffset override applies by sensor age (no MJ/hypo-state or cannula-age gating). The configured LibreSlope_orig/LibreOffset_orig pair is the explicit baseline. |
| 18 | SensorAgeAutoOn | Device/pump/sensor | OldSensorAdj: Libre special settings for an aging sensor (12-15 days) — swings high/low too easily and isn't compensated by the usual slope/offset calibration. Mirrored at the other end of the sensor's life too (0-3 days): a brand-new sensor has its own settling/compression artifact inaccuracy, easing back toward normal as it moves away from insertion, same as it eases away from the 12-15 day window as it ages — day 0 (<1 day, the WHOLE first day, no separate <6h sub-tier) mirrors the MOST extreme 14-15 day tier (0.65/1.6), day 1 mirrors 13-14 (0.68/1.5), day 2 mirrors 12-13 (0.70/1.45). Tiered FslCalSlope/FslCalOffset override applies by sensor age (no MJ/hypo-state or cannula-age gating). The configured LibreSlope_orig/LibreOffset_orig pair is the explicit baseline. |
| 19 | SensorAgeToggleTT | Command / setting relay | SensorAgeToggleTT: manually setting a TT of 5.06 mmol is used as a remote toggle for the OldSensorAdj enable switch (ApsAutoIsfOldSensorAdjEnabled) — not a real target. Flips the switch, then immediately cancels the TT so it never actually affects dosing. activeTtNear() (not a hand-rolled mg/dL literal) is deliberate here — see its own doc comment on why the exact mmol->mg/dL conversion constant matters for matching a manually-set TT. Tight 0.001mmol tolerance (not the old 0.02) — this now sits in a cluster with SmbDeliveryDownTT (5.02), SmbDeliveryUpTT (5.04), and BoostToggleTT (5.08), all only 0.02mmol apart from their neighbors, so a loose tolerance would make adjacent windows overlap. Small throttle purely as a defense against double-toggling if the cancel hasn't fully propagated by the next cycle — the cancel itself is what actually prevents re-firing in normal operation. |
| 20 | BoostToggleTT | Command / setting relay | BoostToggleTT: manually setting a TT of 5.08 mmol is used as a remote toggle for ApsAutoIsfBoostAutomationsEnabled (the combined master switch for BolusGiven bg1/2/3 and BolusGivenMild) — not a real target. Same pattern and same tight 0.001mmol tolerance as SensorAgeToggleTT above (see its comment for why). |
| 21 | SmbDeliveryDownTT | Command / setting relay | SmbDeliveryDownTT: manually setting a TT of 5.02 mmol is used as a remote -0.01 nudge on both SMB delivery settings (ApsAutoIsfSmbDeliveryBaseline, ApsAutoIsfMildBoostRatio) — not a real target. Clamped to each key's own min (0.1 for both). Same activeTtNear()/cancel/notify pattern as SensorAgeToggleTT/BoostToggleTT above. Tight 0.001mmol tolerance (not the usual 0.02) — 5.02 and 5.04 (SmbDeliveryUpTT) are only 0.02mmol apart, so 0.02 tolerance would make their windows overlap each other (and creep into 5.0's own "own boost TT" territory). |
| 22 | SmbDeliveryUpTT | Command / setting relay | SmbDeliveryUpTT: manually setting a TT of 5.04 mmol is used as a remote +0.01 nudge on both SMB delivery settings, clamped to each key's own max -- 0.5 for ApsAutoIsfSmbDeliveryBaseline, 1.0 for ApsAutoIsfMildBoostRatio (widened 2026-08-29, see DoubleKey.kt; this combined block's own ±0.01 step is untouched, unlike the dedicated MildBoostDownTT/UpTT pair below which now steps by 0.05). Same pattern and same tight 0.001mmol tolerance as SmbDeliveryDownTT above. |
| 23 | PpWeightDownTT | Command / setting relay | PpWeightDownTT: manually setting a TT of 5.12 mmol is used as a remote -0.01 nudge on ApsAutoIsfPpWeightNormal (ppISFwt_orig), clamped to its own min (0.0) — not a real target. Same pattern/tight 0.001mmol tolerance as the SmbDelivery*/SensorAge/Boost toggle TTs above. |
| 24 | PpWeightUpTT | Command / setting relay | PpWeightUpTT: manually setting a TT of 5.14 mmol is used as a remote +0.01 nudge on ApsAutoIsfPpWeightNormal, clamped to its own max (0.15). Same pattern as PpWeightDownTT above. |
| 25 | PpWeightHighDownTT | Command / setting relay | PpWeightHighDownTT: manually setting a TT of 5.056 mmol is used as a remote -0.01 nudge on ApsAutoIsfPpWeightHigh (ppISFwt_high — the boosted value the 7 fast-rise automations set, previously a hardcoded 0.15 literal in each), clamped to its own min (0.0) — not a real target. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. No dual-update: unlike PpWeightNormal/PpWeight, this only ever gets written into the live weight transiently when a boost automation actually fires, not continuously. |
| 26 | PpWeightHighUpTT | Command / setting relay | PpWeightHighUpTT: manually setting a TT of 5.058 mmol is used as a remote +0.01 nudge on ApsAutoIsfPpWeightHigh, clamped to its own max (0.15). Same pattern as PpWeightHighDownTT above. |
| 27 | PpWeightRevertUnder8_5 | Command / setting relay | PpWeightRevertUnder8_5: genuine automatic (not TT-triggered) counterpart to the boost automations that set ApsAutoIsfPpWeight to 0.15 (BolusGiven, BolusGivenMild, High6PP, HighOldPod, PodChangeHighPP130, OldPod2, RecentPod) — always-on, fires whenever the live PP weight currently differs from its own baseline (ApsAutoIsfPpWeightNormal) AND either BG is back under 8.5mmol OR recent activity is high enough — same recentSteps5Minutes/ recentSteps30Minutes thresholds (100/200) already used as the movement-guard BLOCKER in BolusGiven/BolusGivenMild/bg3's own fire conditions, plus bg3's own extra recentSteps60Minutes (300) gate, all reused here as POSITIVE triggers instead: active movement is independent evidence the elevated PP weight is no longer needed. |
| 28 | High6PP | Operational automation | Code port of "High6PP": brief 120% profile boost across 3 condition blocks when BGL is high with controlled delta and a low/no temp target tolerance. Note: "TT now <=4.2 tolerant". Precondition: profile=100%. Daytime-only outer gate (09:00-21:00) — each branch below still has its own (narrower or equal) window, so this just bounds all three to the same daytime range without changing their individual per-branch windows. 30-min floor throttle. Also requires recentLibreOver12(48): this boost increases insulin delivery in response to a perceived high, so it's gated on genuine confirmation (raw Libre >12.0mmol) within the last 48h -- without that, a borderline/moderate reading isn't enough on its own to warrant it. |
| 29 | HighOldPod | Device/pump/sensor | HighOldPod: sets a brief TT 5.0 + 110% profile when cannula is stale (>=60h) or fresh (<=6h) Preconditions: no TT, profile=100%. Guards: MJ=NOMJremains state + bolus >=90 min ago. 5-min floor throttle added on top of the preconditions (see readyToRun() usage note). |
| 30 | PodChangeHighPP130 | Device/pump/sensor | Code port of "PodChangeHighPP130": brief 130% profile boost around a pod change (fresh <=2h or stale >=78h) when BGL is high and rising, 10am-6pm. Live-pump-only, matching the original's note. Precondition: profile=100%. Also requires a genuine recent high (raw Libre >12.0mmol within 48h) -- without that recent confirmation the boost isn't warranted. |
| 31 | OldPod2 | Device/pump/sensor | PpWeightRevertUnder8_5: genuine automatic (not TT-triggered) counterpart to the boost automations that set ApsAutoIsfPpWeight to 0.15 (BolusGiven, BolusGivenMild, High6PP, HighOldPod, PodChangeHighPP130, OldPod2, RecentPod) — always-on, fires whenever the live PP weight currently differs from its own baseline (ApsAutoIsfPpWeightNormal) AND either BG is back under 8.5mmol OR recent activity is high enough — same recentSteps5Minutes/ recentSteps30Minutes thresholds (100/200) already used as the movement-guard BLOCKER in BolusGiven/BolusGivenMild/bg3's own fire conditions, plus bg3's own extra recentSteps60Minutes (300) gate, all reused here as POSITIVE triggers instead: active movement is independent evidence the elevated PP weight is no longer needed. |
| 32 | RecentPod | Device/pump/sensor | Code port of "RecentPod": brief 130% profile boost + 4.2mmol TT when cannula is very fresh/stale, carbs are up, and BGL is rising with headroom on IOB. Live-pump-only, matching the original's note. Preconditions: profile=100%, no TT. Also requires a genuine recent high (raw Libre >12.0mmol within 48h) -- without that recent confirmation the boost isn't warranted. |
| 33 | AcceWeightDownTT | Command / setting relay | AcceWeightDownTT: manually setting a TT of 5.16 mmol is used as a remote -0.05 nudge on ApsAutoIsfBgAccelWeightNormal (acceISFwt_orig), clamped to a min of 0.55 — not a real target. Same pattern/tight 0.001mmol tolerance as the other settings-nudge TTs above. |
| 34 | AcceWeightUpTT | Command / setting relay | AcceWeightUpTT: manually setting a TT of 5.18 mmol is used as a remote +0.05 nudge on ApsAutoIsfBgAccelWeightNormal, clamped to a max of 1.00. Same pattern as AcceWeightDownTT above. |
| 35 | AcceWeightHighDownTT | Command / setting relay | AcceWeightHighDownTT: manually setting a TT of 5.062 mmol is used as a remote -0.01 nudge on ApsAutoIsfBgAccelWeightHigh (acceISFwt_high — the boosted value OldPod2/RecentPod/AcceUp0.5 set, previously a hardcoded 0.95 literal in each), clamped to its own min (0.0) — not a real target. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. No dual-update: unlike AcceWeightNormal/AcceWeight, this only ever gets written into the live weight transiently when a boost automation actually fires, not continuously. |
| 36 | AcceWeightHighUpTT | Command / setting relay | AcceWeightHighUpTT: manually setting a TT of 5.064 mmol is used as a remote +0.01 nudge on ApsAutoIsfBgAccelWeightHigh, clamped to its own max (1.00). Same pattern as AcceWeightHighDownTT above. |
| 37 | HigherIsfRangeWeightDownTT | Command / setting relay | HigherIsfRangeWeightDownTT: manually setting a TT of 5.068 mmol is used as a remote -0.1 nudge on ApsAutoIsfHighBgWeight (higher_ISFrange_weight), clamped to a min of 0.0 — not a real target. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 38 | HigherIsfRangeWeightUpTT | Command / setting relay | HigherIsfRangeWeightUpTT: manually setting a TT of 5.070 mmol is used as a remote +0.1 nudge on ApsAutoIsfHighBgWeight, clamped to a max of 2.0. Same pattern as HigherIsfRangeWeightDownTT above. |
| 39 | PeakInsulinTimeDownTT | Command / setting relay | PeakInsulinTimeDownTT: manually setting a TT of 5.074 mmol is used as a remote -5 nudge on InsulinOrefPeak (peak insulin activity time, minutes), clamped to its own min (35) — not a real target. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 40 | PeakInsulinTimeUpTT | Command / setting relay | PeakInsulinTimeUpTT: manually setting a TT of 5.076 mmol is used as a remote +5 nudge on InsulinOrefPeak, clamped to its own max (120). Same pattern as PeakInsulinTimeDownTT above. |
| 41 | AutoIsfMaxLowDownTT | Command / setting relay | AutoIsfMaxLowDownTT: manually setting a TT of 5.080 mmol is used as a remote -0.1 nudge on ApsAutoIsfMaxLow (autoISF_max_low — not yet wired into any calculation, see DoubleKey.kt), clamped to a min of 1.0 — not a real target. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 42 | AutoIsfMaxLowUpTT | Command / setting relay | AutoIsfMaxLowUpTT: manually setting a TT of 5.082 mmol is used as a remote +0.1 nudge on ApsAutoIsfMaxLow, clamped to a max of 3.0. Same pattern as AutoIsfMaxLowDownTT above. |
| 43 | AutoIsfMaxNormalDownTT | Command / setting relay | AutoIsfMaxNormalDownTT: manually setting a TT of 5.086 mmol is used as a remote -0.1 nudge on ApsAutoIsfMax (autoISF_max — the existing, already-live setting; "Normal" here just distinguishes it from AutoIsfMaxLow above), clamped to a min of 1.0 — not a real target. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 44 | AutoIsfMaxNormalUpTT | Command / setting relay | AutoIsfMaxNormalUpTT: manually setting a TT of 5.088 mmol is used as a remote +0.1 nudge on ApsAutoIsfMax, clamped to a max of 3.0. Same pattern as AutoIsfMaxNormalDownTT above. |
| 45 | TodOffset0002DownTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 46 | TodOffset0002UpTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 47 | TodOffset0204DownTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 48 | TodOffset0204UpTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 49 | TodOffset0406DownTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 50 | TodOffset0406UpTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 51 | TodOffset0609DownTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 52 | TodOffset0609UpTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 53 | TodOffset0912DownTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 54 | TodOffset0912UpTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 55 | TodOffset1218DownTT | Command / setting relay | TodOffset*TT (8 pairs, T1-T8): manually setting a TT of 5.092-5.136 mmol is used as a remote +/-0.1 nudge on one of the 8 fixed time-of-day varOffset windows (ApsAutoIsfTodOffset*, see DetermineBasalAutoISF.kt), clamped to +/-2.0 — not a real target. T1=00-02h, T2=02-04h, T3=04-06h, T4=06-09h, T5=09-12h, T6=12-18h, T7=18-22h, T8=22-00h. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 56 | TodOffset1218UpTT | Command / setting relay | Member of the eight TodOffset TT pairs. A five-minute relay guard recognizes its exact 5.092-5.136 mmol command, changes the corresponding fixed time-of-day varOffset by 0.1 within the +/-2.0 clamp, cancels the command TT and records/notifies the result. |
| 57 | TodOffset1822DownTT | Command / setting relay | Member of the eight TodOffset TT pairs. A five-minute relay guard recognizes its exact 5.092-5.136 mmol command, changes the corresponding fixed time-of-day varOffset by 0.1 within the +/-2.0 clamp, cancels the command TT and records/notifies the result. |
| 58 | TodOffset1822UpTT | Command / setting relay | Member of the eight TodOffset TT pairs. A five-minute relay guard recognizes its exact 5.092-5.136 mmol command, changes the corresponding fixed time-of-day varOffset by 0.1 within the +/-2.0 clamp, cancels the command TT and records/notifies the result. |
| 59 | TodOffset2200DownTT | Command / setting relay | Member of the eight TodOffset TT pairs. A five-minute relay guard recognizes its exact 5.092-5.136 mmol command, changes the corresponding fixed time-of-day varOffset by 0.1 within the +/-2.0 clamp, cancels the command TT and records/notifies the result. |
| 60 | TodOffset2200UpTT | Command / setting relay | Member of the eight TodOffset TT pairs. A five-minute relay guard recognizes its exact 5.092-5.136 mmol command, changes the corresponding fixed time-of-day varOffset by 0.1 within the +/-2.0 clamp, cancels the command TT and records/notifies the result. |
| 61 | TodOffsetsZero | Command / setting relay | Member of the eight TodOffset TT pairs. A five-minute relay guard recognizes its exact 5.092-5.136 mmol command, changes the corresponding fixed time-of-day varOffset by 0.1 within the +/-2.0 clamp, cancels the command TT and records/notifies the result. |
| 62 | Graph2ToggleTT | Command / setting relay | Graph2ToggleTT: manually setting a TT of 5.138 mmol is used as a remote toggle for ApsAutoIsfShowCarbModelCurve (the "graph2" carb model curve display) — not a real target. Next value after TodOffset2200UpTT's 5.136 in the settings-nudge TT cluster. Same activeTtNear()/cancel/notify/toggle pattern as SensorAgeToggleTT/BoostToggleTT above. |
| 63 | Graph5ToggleTT | Command / setting relay | Graph5ToggleTT: manually setting a TT of 5.142 mmol is used as a remote toggle for ApsAutoIsfShowGraph5 (the 5th graph — a fixed clone of the main graph, minus basal) — not a real target. Next value after Graph2ToggleTT's 5.138 / CloudLogsUploadTT's 5.140. Same activeTtNear()/cancel/notify/toggle pattern as Graph2ToggleTT above. Independent switch — deliberately does not touch graphs 2/3/4's own settings. |
| 64 | MjStateNoMjTT | Command / setting relay | MjStateNoMjTT / MjStateMj3TT: manually setting a TT of 5.144 / 5.146 mmol sets the MJ automation state directly to NOMJremains / MJ3 — not real targets. Next values after Graph5ToggleTT's 5.142. Paired in ttCodesList() as a single TtCode.Stepped row ("MJ state"), so the two land as the pair of mutually-exclusive checkboxes in that row's confirm dialog rather than as two separate scannable entries. A manual override, deliberately unconditional: every other writer of this state is gated on time and/or BGL (MJ2old 02:10-03:10, MJ3old 01:05-02:05, MoreMJ 06:00-23:59 plus its own condition tree), which is exactly why a stuck state can't always be corrected from within the automations. Same activeTtNear()/cancel/notify pattern as the other remote-signal TTs above; no toggle state, each fires once per TT-set. |
| 65 | MjStateMj3TT | Command / setting relay | MjStateNoMjTT / MjStateMj3TT: manually setting a TT of 5.144 / 5.146 mmol sets the MJ automation state directly to NOMJremains / MJ3 — not real targets. Next values after Graph5ToggleTT's 5.142. Paired in ttCodesList() as a single TtCode.Stepped row ("MJ state"), so the two land as the pair of mutually-exclusive checkboxes in that row's confirm dialog rather than as two separate scannable entries. A manual override, deliberately unconditional: every other writer of this state is gated on time and/or BGL (MJ2old 02:10-03:10, MJ3old 01:05-02:05, MoreMJ 06:00-23:59 plus its own condition tree), which is exactly why a stuck state can't always be corrected from within the automations. Same activeTtNear()/cancel/notify pattern as the other remote-signal TTs above; no toggle state, each fires once per TT-set. |
| 66 | MjStateActiveTT | Command / setting relay | MjStateNoMjTT / MjStateMj3TT: manually setting a TT of 5.144 / 5.146 mmol sets the MJ automation state directly to NOMJremains / MJ3 — not real targets. Next values after Graph5ToggleTT's 5.142. Paired in ttCodesList() as a single TtCode.Stepped row ("MJ state"), so the two land as the pair of mutually-exclusive checkboxes in that row's confirm dialog rather than as two separate scannable entries. A manual override, deliberately unconditional: every other writer of this state is gated on time and/or BGL (MJ2old 02:10-03:10, MJ3old 01:05-02:05, MoreMJ 06:00-23:59 plus its own condition tree), which is exactly why a stuck state can't always be corrected from within the automations. Same activeTtNear()/cancel/notify pattern as the other remote-signal TTs above; no toggle state, each fires once per TT-set. |
| 67 | MjStateMj2TT | Command / setting relay | MjStateNoMjTT / MjStateMj3TT: manually setting a TT of 5.144 / 5.146 mmol sets the MJ automation state directly to NOMJremains / MJ3 — not real targets. Next values after Graph5ToggleTT's 5.142. Paired in ttCodesList() as a single TtCode.Stepped row ("MJ state"), so the two land as the pair of mutually-exclusive checkboxes in that row's confirm dialog rather than as two separate scannable entries. A manual override, deliberately unconditional: every other writer of this state is gated on time and/or BGL (MJ2old 02:10-03:10, MJ3old 01:05-02:05, MoreMJ 06:00-23:59 plus its own condition tree), which is exactly why a stuck state can't always be corrected from within the automations. Same activeTtNear()/cancel/notify pattern as the other remote-signal TTs above; no toggle state, each fires once per TT-set. |
| 68 | ProfileStandardTT | Command / setting relay | MjStateNoMjTT / MjStateMj3TT: manually setting a TT of 5.144 / 5.146 mmol sets the MJ automation state directly to NOMJremains / MJ3 — not real targets. Next values after Graph5ToggleTT's 5.142. Paired in ttCodesList() as a single TtCode.Stepped row ("MJ state"), so the two land as the pair of mutually-exclusive checkboxes in that row's confirm dialog rather than as two separate scannable entries. A manual override, deliberately unconditional: every other writer of this state is gated on time and/or BGL (MJ2old 02:10-03:10, MJ3old 01:05-02:05, MoreMJ 06:00-23:59 plus its own condition tree), which is exactly why a stuck state can't always be corrected from within the automations. Same activeTtNear()/cancel/notify pattern as the other remote-signal TTs above; no toggle state, each fires once per TT-set. |
| 69 | ProfileLowTT | Command / setting relay | MjStateNoMjTT / MjStateMj3TT: manually setting a TT of 5.144 / 5.146 mmol sets the MJ automation state directly to NOMJremains / MJ3 — not real targets. Next values after Graph5ToggleTT's 5.142. Paired in ttCodesList() as a single TtCode.Stepped row ("MJ state"), so the two land as the pair of mutually-exclusive checkboxes in that row's confirm dialog rather than as two separate scannable entries. A manual override, deliberately unconditional: every other writer of this state is gated on time and/or BGL (MJ2old 02:10-03:10, MJ3old 01:05-02:05, MoreMJ 06:00-23:59 plus its own condition tree), which is exactly why a stuck state can't always be corrected from within the automations. Same activeTtNear()/cancel/notify pattern as the other remote-signal TTs above; no toggle state, each fires once per TT-set. |
| 70 | LibreUkf1ToggleTT | Command / setting relay | LibreUkf1ToggleTT: 5.152 is the "Tog UKFset1" row in the IOB double-tap popup. Its old sibling LibreUkf2ToggleTT (5.154) is removed -- UKFset2 toggling moved to list2's "Graph: UKF2" entry (see GraphToggleEntry.syncedLiveKey in OverviewFragment.kt). The mutual-exclusion write here (turning UKFset1 on used to also force FslUseUkfLibreSpecialSmoothing off) was removed 2026-08-15 for the same reason it was dropped from list2's popup: that flag no longer has any dosing effect (XdripSourcePlugin.kt/NsIncomingDataProcessor.kt call smoothLibreSpecialRealtime() only for its graph-history side effect and discard the return value) -- it now only gates whether UKF2's graph history accumulates. Silently clearing it here every time UKFset1 got toggled on was the actual cause of UKF2's graph never accumulating points: the two settings are independent now, so toggling one must not touch the other. |
| 71 | SensorAgeCodeToggleTT | Command / setting relay | SensorAgeCodeToggleTT: master execution toggle for the complete SensorAge calibration routine, separate from the existing 5.006 aging-sensor adjustment preference toggle. |
| 72 | MjStartActionTT | Command / setting relay | SensorAgeCodeToggleTT: master execution toggle for the complete SensorAge calibration routine, separate from the existing 5.006 aging-sensor adjustment preference toggle. Client-only relay codes for the basal-icon direct action menu. On the pump phone these run the full Kotlin actions; pump/Virtual selections do not create these TTs at all. |
| 73 | MjRestoreActionTT | Command / setting relay | SensorAgeCodeToggleTT: master execution toggle for the complete SensorAge calibration routine, separate from the existing 5.006 aging-sensor adjustment preference toggle. Client-only relay codes for the basal-icon direct action menu. On the pump phone these run the full Kotlin actions; pump/Virtual selections do not create these TTs at all. |
| 74 | SteroidStartActionTT | Command / setting relay | SensorAgeCodeToggleTT: master execution toggle for the complete SensorAge calibration routine, separate from the existing 5.006 aging-sensor adjustment preference toggle. Client-only relay codes for the basal-icon direct action menu. On the pump phone these run the full Kotlin actions; pump/Virtual selections do not create these TTs at all. |
| 75 | SteroidIncrease130ActionTT | Command / setting relay | SensorAgeCodeToggleTT: master execution toggle for the complete SensorAge calibration routine, separate from the existing 5.006 aging-sensor adjustment preference toggle. Client-only relay codes for the basal-icon direct action menu. On the pump phone these run the full Kotlin actions; pump/Virtual selections do not create these TTs at all. |
| 76 | SteroidIncrease150ActionTT | Command / setting relay | SensorAgeCodeToggleTT: master execution toggle for the complete SensorAge calibration routine, separate from the existing 5.006 aging-sensor adjustment preference toggle. Client-only relay codes for the basal-icon direct action menu. On the pump phone these run the full Kotlin actions; pump/Virtual selections do not create these TTs at all. |
| 77 | SteroidIncrease190ActionTT | Command / setting relay | SensorAgeCodeToggleTT: master execution toggle for the complete SensorAge calibration routine, separate from the existing 5.006 aging-sensor adjustment preference toggle. Client-only relay codes for the basal-icon direct action menu. On the pump phone these run the full Kotlin actions; pump/Virtual selections do not create these TTs at all. |
| 78 | SteroidIncrease250ActionTT | Command / setting relay | SensorAgeCodeToggleTT: master execution toggle for the complete SensorAge calibration routine, separate from the existing 5.006 aging-sensor adjustment preference toggle. Client-only relay codes for the basal-icon direct action menu. On the pump phone these run the full Kotlin actions; pump/Virtual selections do not create these TTs at all. |
| 79 | SteroidTurnOffActionTT | Command / setting relay | SensorAgeCodeToggleTT: master execution toggle for the complete SensorAge calibration routine, separate from the existing 5.006 aging-sensor adjustment preference toggle. Client-only relay codes for the basal-icon direct action menu. On the pump phone these run the full Kotlin actions; pump/Virtual selections do not create these TTs at all. |
| 80 | AnyDeskRestartActionTT | Command / setting relay | AnyDeskRestartActionTT: second, redundant channel for the "Send AnyDesk restart" list2 button (see runBasalDirectAction()'s ANYDESK_RESTART branch in OverviewFragment.kt), which fires this TT alongside the existing "ADesk" secondary-NS Note above rather than instead of it -- this one rides Client's primary NS sync so it can land before the secondary-NS worker's next poll picks up the Note's revision. launchAnyDeskDirect() only (no Tasker, no RESTART_ANYDESK broadcast). AdOn/AdMs are startActivity only, not that Unattended Access is accepting connections. |
| 81 | ShizukuApkInstallTT | Command / setting relay | ShizukuApkInstallTT: List2 "Install newest AAPS333 APK (Shizuku)". Live List2 fires immediately via EventAutoIsfDirectTtCode 5.200; Client relays this 5.200 TT. 5-min throttle so a double-tap cannot start two pm installs. |
| 82 | StageAaps333NewestTT | Command / setting relay | StageAaps333NewestTT: List2 "Stage newest APK (keep 20)". Copy + prune only. |
| 83 | AutoApkInstall | Operational automation | StageAaps333NewestTT: List2 "Stage newest APK (keep 20)". Copy + prune only. Every 15 min on Live and Virtual: stage newest/, then Shizuku-install only if the archive NNN is strictly higher than the running APK and no install started in the last 45 min (persisted — survives the pm-install kill). sh -c still relaunches. |
| 84 | MjKotlinButtonsToggleTT | Command / setting relay | StageAaps333NewestTT: List2 "Stage newest APK (keep 20)". Copy + prune only. Every 15 min on Live and Virtual: stage newest/, then Shizuku-install only if the archive NNN is strictly higher than the running APK and no install started in the last 45 min (persisted — survives the pm-install kill). sh -c still relaunches. |
| 85 | SteroidKotlinButtonToggleTT | Command / setting relay | StageAaps333NewestTT: List2 "Stage newest APK (keep 20)". Copy + prune only. Every 15 min on Live and Virtual: stage newest/, then Shizuku-install only if the archive NNN is strictly higher than the running APK and no install started in the last 45 min (persisted — survives the pm-install kill). sh -c still relaunches. |
| 86 | Tier3BoostToggleTT | Command / setting relay | StageAaps333NewestTT: List2 "Stage newest APK (keep 20)". Copy + prune only. Every 15 min on Live and Virtual: stage newest/, then Shizuku-install only if the archive NNN is strictly higher than the running APK and no install started in the last 45 min (persisted — survives the pm-install kill). sh -c still relaunches. Added 2026-08-23: List 2 on/off for Tier 3 "UAM Boost" (ApsAutoIsfUamBoostEnabled), same flag uamBoostActive already reads (see its own getter's doc comment) and the same one the Settings-screen AdaptiveSwitchPreference exposes -- this is just a quicker toggle path, not a second independent flag. Same activeTtNear()/cancel/notify shape as the two toggles above. |
| 87 | ProfileBatchAutoToggleTT | Command / setting relay | StageAaps333NewestTT: List2 "Stage newest APK (keep 20)". Copy + prune only. Every 15 min on Live and Virtual: stage newest/, then Shizuku-install only if the archive NNN is strictly higher than the running APK and no install started in the last 45 min (persisted — survives the pm-install kill). sh -c still relaunches. Added 2026-08-23: List 2 on/off for Tier 3 "UAM Boost" (ApsAutoIsfUamBoostEnabled), same flag uamBoostActive already reads (see its own getter's doc comment) and the same one the Settings-screen AdaptiveSwitchPreference exposes -- this is just a quicker toggle path, not a second independent flag. Same activeTtNear()/cancel/notify shape as the two toggles above. |
| 88 | ProfileBatchRevertToggleTT | Command / setting relay | StageAaps333NewestTT: List2 "Stage newest APK (keep 20)". Copy + prune only. Every 15 min on Live and Virtual: stage newest/, then Shizuku-install only if the archive NNN is strictly higher than the running APK and no install started in the last 45 min (persisted — survives the pm-install kill). sh -c still relaunches. Added 2026-08-23: List 2 on/off for Tier 3 "UAM Boost" (ApsAutoIsfUamBoostEnabled), same flag uamBoostActive already reads (see its own getter's doc comment) and the same one the Settings-screen AdaptiveSwitchPreference exposes -- this is just a quicker toggle path, not a second independent flag. Same activeTtNear()/cancel/notify shape as the two toggles above. |
| 89 | ProfileBatchRevertCToggleTT | Command / setting relay | StageAaps333NewestTT: List2 "Stage newest APK (keep 20)". Copy + prune only. Every 15 min on Live and Virtual: stage newest/, then Shizuku-install only if the archive NNN is strictly higher than the running APK and no install started in the last 45 min (persisted — survives the pm-install kill). sh -c still relaunches. Added 2026-08-23: List 2 on/off for Tier 3 "UAM Boost" (ApsAutoIsfUamBoostEnabled), same flag uamBoostActive already reads (see its own getter's doc comment) and the same one the Settings-screen AdaptiveSwitchPreference exposes -- this is just a quicker toggle path, not a second independent flag. Same activeTtNear()/cancel/notify shape as the two toggles above. |
| 90 | ProfileBatchSetATT | Command / setting relay | List 1 direct tier set (added 2026-09-15, per explicit request): jump Standard+Low to a named rung in one tap, rather than only stepping one rung at a time (ProfileBatchStep, via List2 Toggle1/BtchUp/BtchDn) or holding at the two extremes (List2 Toggle2/Toggle3, TierA/ TierC only -- TierB was previously unreachable except by passing through it during a step). Both roles always move together -- applySharedRoleRung() already writes Standard+Low as one shared rung; this just exposes picking the destination rung directly from List 1. Turns off both hold toggles first: leaving one active would have it revert this pick straight back to A or C on the very next cycle, the same class of fight-every-cycle regression the Toggle2/Toggle3 doc comment above already warns about. |
| 91 | ProfileBatchSetBTT | Command / setting relay | List 1 direct tier set (added 2026-09-15, per explicit request): jump Standard+Low to a named rung in one tap, rather than only stepping one rung at a time (ProfileBatchStep, via List2 Toggle1/BtchUp/BtchDn) or holding at the two extremes (List2 Toggle2/Toggle3, TierA/ TierC only -- TierB was previously unreachable except by passing through it during a step). Both roles always move together -- applySharedRoleRung() already writes Standard+Low as one shared rung; this just exposes picking the destination rung directly from List 1. Turns off both hold toggles first: leaving one active would have it revert this pick straight back to A or C on the very next cycle, the same class of fight-every-cycle regression the Toggle2/Toggle3 doc comment above already warns about. |
| 92 | ProfileBatchSetCTT | Command / setting relay | List 1 direct tier set (added 2026-09-15, per explicit request): jump Standard+Low to a named rung in one tap, rather than only stepping one rung at a time (ProfileBatchStep, via List2 Toggle1/BtchUp/BtchDn) or holding at the two extremes (List2 Toggle2/Toggle3, TierA/ TierC only -- TierB was previously unreachable except by passing through it during a step). Both roles always move together -- applySharedRoleRung() already writes Standard+Low as one shared rung; this just exposes picking the destination rung directly from List 1. Turns off both hold toggles first: leaving one active would have it revert this pick straight back to A or C on the very next cycle, the same class of fight-every-cycle regression the Toggle2/Toggle3 doc comment above already warns about. |
| 93 | Ukf1DosingToggleTT | Command / setting relay | List 1 direct tier set (added 2026-09-15, per explicit request): jump Standard+Low to a named rung in one tap, rather than only stepping one rung at a time (ProfileBatchStep, via List2 Toggle1/BtchUp/BtchDn) or holding at the two extremes (List2 Toggle2/Toggle3, TierA/ TierC only -- TierB was previously unreachable except by passing through it during a step). Both roles always move together -- applySharedRoleRung() already writes Standard+Low as one shared rung; this just exposes picking the destination rung directly from List 1. Turns off both hold toggles first: leaving one active would have it revert this pick straight back to A or C on the very next cycle, the same class of fight-every-cycle regression the Toggle2/Toggle3 doc comment above already warns about. Added 2026-08-23: List 2 on/off for ApsAutoIsfUseUkf1ForDosing -- see applyUkf1DosingOverride()'s own doc comment for scope. |
| 94 | LocationSmsToggleTT | Command / setting relay | List 1 direct tier set (added 2026-09-15, per explicit request): jump Standard+Low to a named rung in one tap, rather than only stepping one rung at a time (ProfileBatchStep, via List2 Toggle1/BtchUp/BtchDn) or holding at the two extremes (List2 Toggle2/Toggle3, TierA/ TierC only -- TierB was previously unreachable except by passing through it during a step). Both roles always move together -- applySharedRoleRung() already writes Standard+Low as one shared rung; this just exposes picking the destination rung directly from List 1. Turns off both hold toggles first: leaving one active would have it revert this pick straight back to A or C on the very next cycle, the same class of fight-every-cycle regression the Toggle2/Toggle3 doc comment above already warns about. Added 2026-08-23: List 2 on/off for ApsAutoIsfUseUkf1ForDosing -- see applyUkf1DosingOverride()'s own doc comment for scope. |
| 95 | LocationSmsThisPhoneTT | Command / setting relay | List 1 direct tier set (added 2026-09-15, per explicit request): jump Standard+Low to a named rung in one tap, rather than only stepping one rung at a time (ProfileBatchStep, via List2 Toggle1/BtchUp/BtchDn) or holding at the two extremes (List2 Toggle2/Toggle3, TierA/ TierC only -- TierB was previously unreachable except by passing through it during a step). Both roles always move together -- applySharedRoleRung() already writes Standard+Low as one shared rung; this just exposes picking the destination rung directly from List 1. Turns off both hold toggles first: leaving one active would have it revert this pick straight back to A or C on the very next cycle, the same class of fight-every-cycle regression the Toggle2/Toggle3 doc comment above already warns about. Added 2026-08-23: List 2 on/off for ApsAutoIsfUseUkf1ForDosing -- see applyUkf1DosingOverride()'s own doc comment for scope. |
| 96 | CloudLogsUploadTT | Command / setting relay | CloudLogsUploadTT: manually setting a TT of 5.140 mmol remotely triggers the same log upload as the "Send logs" button on the Maintenance screen (zips logs, sends to cloud storage if configured, else email) — for AAPSClient users who have no settings access to trigger it directly. Next value after Graph2ToggleTT's 5.138. Same activeTtNear()/cancel/notify pattern as the other remote-signal TTs above; no toggle state, just fires once per TT-set. |
| 97 | DuraWeightDownTT | Command / setting relay | DuraWeightDownTT: manually setting a TT of 5.22 mmol is used as a remote -0.1 nudge on ApsAutoIsfDuraWeightNormal (duraISFwt_orig), clamped to a min of 0.00 — not a real target. Same pattern/tight 0.001mmol tolerance as the other settings-nudge TTs above. |
| 98 | DuraWeightUpTT | Command / setting relay | DuraWeightUpTT: manually setting a TT of 5.24 mmol is used as a remote +0.1 nudge on ApsAutoIsfDuraWeightNormal, clamped to a max of 3.00. Same pattern as DuraWeightDownTT above. |
| 99 | SmbOffsetDownTT | Command / setting relay | SmbOffsetDownTT: manually setting a TT of 5.36 mmol is used as a remote -0.1 nudge on ApsAutoIsfSmbOffsetOverride (SMBoffset), clamped to a min of 0.50 — not a real target. Same pattern/tight 0.001mmol tolerance as the other settings-nudge TTs above. |
| 100 | SmbOffsetUpTT | Command / setting relay | SmbOffsetUpTT: manually setting a TT of 5.38 mmol is used as a remote +0.1 nudge on ApsAutoIsfSmbOffsetOverride, clamped to a max of 1.50. Same pattern as SmbOffsetDownTT above. |
| 101 | LibreSlopeDownTT | Command / setting relay | LibreSlopeDownTT: manually setting a TT of 5.026 mmol is used as a remote -0.01 nudge on ApsAutoIsfLibreSlopeOrig (LibreSlope_orig), clamped to a min of 0.60 — not a real target. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. If FslCalSlope (the live setting) currently equals its own baseline, nudge both together. |
| 102 | LibreSlopeUpTT | Command / setting relay | LibreSlopeUpTT: manually setting a TT of 5.028 mmol is used as a remote +0.01 nudge on ApsAutoIsfLibreSlopeOrig, clamped to a max of 1.00. Same pattern as LibreSlopeDownTT above. |
| 103 | LibreOffsetDownTT | Command / setting relay | LibreOffsetDownTT: manually setting a TT of 5.032 mmol is used as a remote -0.05 nudge on ApsAutoIsfLibreOffsetOrig (LibreOffset_orig), clamped to a min of 1.20 — not a real target. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. If FslCalOffset currently equals its own baseline, nudge both together. Note suffix uses takeLast(4) (not the usual 2) since this setting is >=1.0 — the one outlier allowed to run to 6 total chars ("Ld1.25") rather than dropping the leading digit, so the note stays unambiguous on its own. |
| 104 | LibreOffsetUpTT | Command / setting relay | LibreOffsetUpTT: manually setting a TT of 5.034 mmol is used as a remote +0.05 nudge on ApsAutoIsfLibreOffsetOrig, clamped to a max of 1.60. Same pattern as LibreOffsetDownTT above. |
| 105 | CleanGraphTT | Command / setting relay | CleanGraphTT: manually setting a TT of 5.042 mmol is used as a remote trigger for the "clean main graph" display combo (no SMB labels, no BGL arrowheads, solid uniform-green line) — the same combo as long-pressing the IOB icon then the Basal icon. Not a real target. Since this plugin has no dependency on core:graph (where the actual display state — showSmbLabels/ basalToggleIndex — lives), it can't set those companion fields directly; it just raises a one-shot flag that OverviewFragment's updateGraph() picks up and clears on its next run. Same tight 0.0001mmol tolerance/cancel/notify pattern as the other settings-nudge TTs above. |
| 106 | WizardPctDownTT | Command / setting relay | WizardPctDownTT: manually setting a TT of 5.046 mmol is used as a remote -5 nudge on OverviewBolusPercentage (Wizard bolus %), clamped to a min of 50 — not a real target. Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 107 | WizardPctUpTT | Command / setting relay | WizardPctUpTT: manually setting a TT of 5.048 mmol is used as a remote +5 nudge on OverviewBolusPercentage, clamped to a max of 100. Same pattern as WizardPctDownTT above. |
| 108 | MildBoostDownTT | Command / setting relay | MildBoostDownTT: manually setting a TT of 5.052 mmol is used as a remote -0.25 nudge on ApsAutoIsfMildBoostRatio alone (unlike SmbDeliveryDownTT/5.002, which nudges it together with ApsAutoIsfSmbDeliveryBaseline, and stays at its own separate ±0.01 step), clamped to its own min of 0.1 — not a real target. Step widened 0.01 -> 0.05 -> 0.25 on 2026-08-29, alongside the key's own max widening 0.5->1.0 (see ApsAutoIsfMildBoostRatio in DoubleKey.kt). Same pattern/tight 0.0001mmol tolerance as the other settings-nudge TTs above. |
| 109 | MildBoostUpTT | Command / setting relay | MildBoostUpTT: manually setting a TT of 5.054 mmol is used as a remote +0.25 nudge on ApsAutoIsfMildBoostRatio alone, clamped to its own max of 1.0 (widened from 0.5 on 2026-08-29). Same pattern as MildBoostDownTT above. |
| 110 | BoostScaleDownTT | Command / setting relay | BoostScaleDownTT / BoostScaleUpTT: remote ±0.25 nudge (widened from ±0.1 -> ±0.05 -> ±0.25, 2026-08-29, per explicit request) on ApsAutoIsfUamBoostScale (Tier 3 UAM Boost's boost_scale multiplier) -- not real targets. Same pattern as MildBoostDownTT/UpTT above. Up is clamped to 2.9, NOT the preference's own nominal max of 3.0: DetermineBasalAutoISF.kt's entry gate requires "boost_scale < 3" -- at exactly 3.0 Tier 3 stops firing entirely, a silent cliff rather than a graceful cap, so 2.9 keeps this control from ever landing on that trap. |
| 111 | BoostScaleUpTT | Command / setting relay | BoostScaleDownTT / BoostScaleUpTT: remote ±0.25 nudge (widened from ±0.1 -> ±0.05 -> ±0.25, 2026-08-29, per explicit request) on ApsAutoIsfUamBoostScale (Tier 3 UAM Boost's boost_scale multiplier) -- not real targets. Same pattern as MildBoostDownTT/UpTT above. Up is clamped to 2.9, NOT the preference's own nominal max of 3.0: DetermineBasalAutoISF.kt's entry gate requires "boost_scale < 3" -- at exactly 3.0 Tier 3 stops firing entirely, a silent cliff rather than a graceful cap, so 2.9 keeps this control from ever landing on that trap. |
| 112 | BoostMaxDownTT | Command / setting relay | BoostMaxDownTT / BoostMaxUpTT: remote ±0.25U nudge on ApsAutoIsfUamBoostMaxBolus (Tier 3's per-SMB boost_max ceiling, live default 2.5U) -- not real targets. Same pattern as above. |
| 113 | BoostMaxUpTT | Command / setting relay | BoostMaxDownTT / BoostMaxUpTT: remote ±0.25U nudge on ApsAutoIsfUamBoostMaxBolus (Tier 3's per-SMB boost_max ceiling, live default 2.5U) -- not real targets. Same pattern as above. |
| 114 | BoostIobMaxDownTT | Command / setting relay | BoostIobMaxDownTT / BoostIobMaxUpTT: remote ±5% nudge on ApsAutoIsfUamBoostMaxIobPercent (Tier 3's IOB ceiling, live default 10.0% of max_iob -- e.g. 0.95U at max_iob 9.5) -- not real targets. Same pattern as above. This is the ceiling that was actually binding the 22 Aug 2026 real UamBst firing (see the AIV review checklist's item 06), not boost_max, so this is the more relevant of the two boost-strength controls to reach for first. |
| 115 | BoostIobMaxUpTT | Command / setting relay | BoostIobMaxDownTT / BoostIobMaxUpTT: remote ±5% nudge on ApsAutoIsfUamBoostMaxIobPercent (Tier 3's IOB ceiling, live default 10.0% of max_iob -- e.g. 0.95U at max_iob 9.5) -- not real targets. Same pattern as above. This is the ceiling that was actually binding the 22 Aug 2026 real UamBst firing (see the AIV review checklist's item 06), not boost_max, so this is the more relevant of the two boost-strength controls to reach for first. |
| 116 | GentleHypoRisk | Hypoglycaemia protection | GentleHypoRiskOver4.5: escalates from prepare50 state (weight 0.07) to Skittles state (0.02) Guard: acce weight 0.03–0.08 (only fires when prepare50 is active; Skittles weight 0.02 falls below). 30-min throttle via readyToRun/markRun. Uses UKF-smoothed raw/noise CGM for additional safety checks. |
| 117 | PP50Off | Operational automation | PP50.Off: replaces "PP50.Off CurrProfReal 70_0.70 0.35" automation Exits the 50% prepare state: restores full profile, resets acce weight, clears LowBG=50recent. Guard: LowBG=50recent state must be set; firing sets LowBG=NO50rec so it won't re-trigger. 5-min floor throttle added on top of the state guard (see readyToRun() usage note). |
| 118 | SkittlesHypoRisk | Hypoglycaemia protection | Skittles hypo-risk: replaces SkittlesTT3CurrP02, SkittlesA3ok8.0,5.0,6.0, Skittles3ok2BG9.0 Primary guard: startTempTargetIfNeeded() no-ops when a TT is already active, so the 7 condition blocks are evaluated every loop cycle but actions only fire once per TT period. All glucose/delta thresholds in mg/dL; originals in mmol/L noted in comments. 5-min floor throttle added on top of the TT-existence self-guard (see readyToRun() usage note). |
| 119 | 50SetRecent | Operational automation | 50SetRecent: flags LowBG=50recent whenever profile drops to 50% while in NO50rec state 5-min floor throttle added on top of the state guard (see readyToRun() usage note). Hysteresis: also locked out for 15 min after a PP50.Off recovery (readyToRun on the "PP50Off" timestamp), so it cannot immediately re-flag 50recent for PP50.Off to exit again — this breaks the observed ~5-min 50Rec<->50ff flap where the two automations toggled the state each cycle. |
| 120 | Not50Recently | Operational automation | Not50%Recently: clears 50recent flag once profile is back at 100% and BGL rising BG floor added 2026-08-23. Real 4-day pattern (Client, 20-23 Aug): this clears on the very first uptick off a low (delta >=0.1mmol was the only bar), often while BG is still clearly in low/low-normal range (4.2-5.0mmol seen repeatedly) -- not once the low has actually resolved. 5-7 times a day the guard then sits off through an autonomous, often carbless rebound that keeps climbing for another 30-90+ min, so by the time real correction lands (recentLowActive's own 50% SMB halving in DetermineBasalAutoISF.kt), it lands at full strength. |
| 121 | iobTHDaytimeFloor | Hypoglycaemia protection | iobTHDaytimeFloor: enforces a daytime iobTH% floor so it can't stay stranded at a back-off level (as seen: stuck at 18% → SMBs throttled, low IOB). During the day, in a clearly-normal state, restore iobTH to the usual 70% whenever it has dropped to 50% or below. rescues from <= 50% (bumps 12/15/16/18/…/50 up to 70; leaves intentional 51+ alone) requires profile 100%, LowBG=NO50rec (not in a back-off), no active TT, Steroids Off, runs 08:00-22:00 only; EvCap owns 22:00-midnight, so the two cannot raise/lower iobTH against each other. BGL >= 6.5 mmol and not falling. 30-min throttle. |
| 122 | Extra50 | Hypoglycaemia protection | Extra50%: deepens hypo protection (acce→0.07, iobTH→50%) when BGL falling on 100% profile 5-min floor throttle added on top of the state guard (see readyToRun() usage note). |
| 123 | OvernightDuraRescue | Operational automation | OvernightDuraRescue: deep-night duraISF-led correction when Low profile is under-treating a genuine plateaued high. Narrower, one-shot counterpart to what BasalUp used to do before it was blocked 22:00-06:00 this session -- NOT a re-opening of that gap: time-boxed to 60 minutes via switchProfileIfNeeded's own duration (auto-reverts, no extra revert logic needed), gated on duraISF genuinely dominating the other AutoISF adaptation factors, no live stacking, no recent low (excludes rebound-highs), and BOTH short- and long-avg delta sitting flat rather than still moving either way. |
| 124 | StuckHighRescue | Operational automation | StuckHighRescue: added 2026-09-13, per explicit request, after a real 13 Sep BG=13.0mmol plateau (Client, ~17:50-18:01) where insulinReq had collapsed toward zero despite BG staying high, because the model's own prediction (minPredBG/eventualBG in DetermineBasalAutoISF.kt insulinReq = (min(minPredBG, eventualBG) - target_bg) / sens) was already close to target. HP2 (hypoPrediction2Mmol) is used here as an EARLIER, plugin-side proxy for that same "predicted landing point" concept -- same shape of formula, computed before determine_basal() runs -- NOT the literal minPredBG/eventualBG values, which only exist inside that function. |
| 125 | BolusGivenMildFailsafe | Bolus/post-bolus | PoorResponseRescue: added 2026-09-13, per explicit request, catching the SAME "insulin isn't producing an effect" failure mode as StuckHighRescue above, but anchored to a SPECIFIC recent dose and its actual observed response, rather than a BG-level/HP2 threshold -- built to fire MUCH earlier in a rise (retrospectively, before BG even reached 9.0mmol in the 13 Sep 16:57-18:01 episode this was built from, where BG had already reached 13.0mmol before anything else caught it). A >=0.6U BolusGiven/BMild/UamBst dose should show SOME visible effect within a handful of minutes; if it doesn't, that is a real, event-anchored "this isn't working" signal, available much sooner than watching for a sustained high BG or a long accumulation window. |
| 126 | PoorResponseRescueStage1 | Operational automation | PoorResponseRescue: added 2026-09-13, per explicit request, catching the SAME "insulin isn't producing an effect" failure mode as StuckHighRescue above, but anchored to a SPECIFIC recent dose and its actual observed response, rather than a BG-level/HP2 threshold -- built to fire MUCH earlier in a rise (retrospectively, before BG even reached 9.0mmol in the 13 Sep 16:57-18:01 episode this was built from, where BG had already reached 13.0mmol before anything else caught it). A >=0.6U BolusGiven/BMild/UamBst dose should show SOME visible effect within a handful of minutes; if it doesn't, that is a real, event-anchored "this isn't working" signal, available much sooner than watching for a sustained high BG or a long accumulation window. |
| 127 | PoorResponseRescueStage2 | Operational automation | PoorResponseRescue: added 2026-09-13, per explicit request, catching the SAME "insulin isn't producing an effect" failure mode as StuckHighRescue above, but anchored to a SPECIFIC recent dose and its actual observed response, rather than a BG-level/HP2 threshold -- built to fire MUCH earlier in a rise (retrospectively, before BG even reached 9.0mmol in the 13 Sep 16:57-18:01 episode this was built from, where BG had already reached 13.0mmol before anything else caught it). A >=0.6U BolusGiven/BMild/UamBst dose should show SOME visible effect within a handful of minutes; if it doesn't, that is a real, event-anchored "this isn't working" signal, available much sooner than watching for a sustained high BG or a long accumulation window. |
| 128 | UnexplainedHighTierC | Operational automation | UnexplainedHighTierC: added 2026-09-13, per explicit request. A THIRD trigger into the SAME escalateToStuckHighTierC()/revert mechanism as StuckHighRescue and PoorResponseRescueStage2 above -- reusing the identical escalation and the identical shared BG<7.5mmol revert (StuckHighTierC run{} block right below) -- but with its own, much simpler condition: BG>8.0mmol continuously for 2h+ WITH NO meal/UAM seen anywhere in that stretch. Where StuckHighRescue/PoorResponseRescue key off HP2/dose-response signals (fast, early, but food-agnostic), this one is a slower backstop aimed specifically at the "no identifiable cause" case (poor pod site, unexpected absorption failure, etc.) -- unlike OldPod's own sustained-high tracker (ApsAutoIsfOldPodHighSinceTs, >10.0mmol), this is pod-age-independent and uses its own 8.0mmol threshold and its own timestamp (ApsAutoIsfUnexplainedHighSinceTs). |
| 129 | NightFrSkip | Operational automation | NightFrSkip: one-shot 1–2 cycle FastRise skip inside the 00:30-04:00 0.6U/10min cap 4 Sep 2026 03:40-04:02: BG 6.4→8.0 while FastRise 750 chopped Req 0.77-1.11 to 0.05 SMB every ~60s (~0.70U over 18 min). First SMBs at 03:40-03:42 were already ratio×Req (FastRise still "--"); the lag was the later chop, not a stuck Low profile (OffP-1 at 03:02 had expired ~03:32, basal 0.40→0.50). Daytime BMild would skip FastRise for 30 min AND raise the delivery ratio AND trigger Tier 3 -- more insulin, not the same total earlier. This block only restores the already-computed microBolus for this cycle plus the next (~2 min), then FastRise 750 resumes. The 00:30-04:00 0.6U/10min cap in determine_basal() still binds (placed AFTER the skip restore). Named Low profile is NOT a veto and this does NOT switch to Standard. |
| 130 | OffHighProf | Operational automation | OffHighProf: overnight BGL falling on non-standard profile → drop to acce 0.18 / iobTH 18% Fires when NOT on the Low profile (i.e. on a named high/steroid profile), Steroids Off, no TT. 30-min floor throttle matches the temporary low-profile duration and prevents another profile-changing block from re-arming OffP-1/OffP-2 within that protection window. |
| 131 | Battery1pc | Device/pump/sensor | Battery1%: when phone battery drops to <=1%, switch to the configured safety profile and alert Do not restrict this to particular Profile automation states or a 100% profile: a bolus, temporary low/exercise profile, or future state must not suppress the critical 1% warning. Self-guarding: once the configured safety profile is active, this block no longer matches. Live-pump-only: skip entirely on Virtual Pump (model() == GENERIC_AAPS is how this codebase identifies it elsewhere, e.g. TriggerPumpBatteryLevelTest). No cannula-age gate — that threshold (80h) was pod-specific and doesn't generalize to tubed pumps with independent infusion-set lifespans; critical phone battery should react regardless. 20-min floor throttle added on top of the state guard (see readyToRun() usage note). |
| 132 | BatteryOver1pc | Device/pump/sensor | BatteryOver1%: when battery recovers above 1%, restore Current ProfileReal Keys on being on the configured safety-profile name (the battery-drop profile) rather than a state flag: that name uniquely marks the battery state, since a hypo 50% is a *percentage* on ProfileReal (different name, profile_percentage==50). This replaced the old guard which required checkAutomationState("Profile","Batt1%") — a flag Battery1pc never set, so recovery never fired — and a "profile_percentage == 50" branch that would have wrongly matched (and cancelled) a hypo 50%. 5-min floor throttle added on top of the profile guard (see readyToRun() usage note). |
| 133 | ProfileRoleSanityCheck | Operational automation | ProfileRoleSanityCheck: non-blocking warning if a coded profile role doesn't resolve to a real profile in the current profile store. Added 2026-08-27 per explicit request. Deliberately ignorable -- a NORMAL-level notification only, never blocks dosing or forces a fix -- since the underlying switchProfileIfNeeded()/getProfileName() comparisons this guards are already null-safe (they no-op rather than throw); this exists purely so a name mismatch is surfaced instead of silently doing nothing across the ~30 automations that read these three roles. 6-hour throttle: this is a slow-changing configuration concern, not something worth checking every cycle. |
| 134 | Shower12 | Operational automation | Shower12: drops iobTH to 12% during quiet morning rise (no steps, no COB, long post-bolus) 5-min floor throttle added on top of the preconditions (see readyToRun() usage note). |
| 135 | HighNight00AM | Operational automation | HighNight00AM: overnight rising BGL (>6.5 mmol) -- switch to Standard at current tier Re-enabled 2026-09-16 in a NARROWER form than the original 2026-08/09 design. The original also raised iobTH to 51 and acce to 0.50 to let the higher Standard profile actually correct -- but that directly fought NightIobCeiling (added after the 6->7 Aug 2026 hypo, which LOWERS the same two knobs across the same hours), so it was disabled outright rather than left to lose that race every ~5 min (see git history for the original disabled block). This version drops the iobTH/acce override entirely -- it ONLY does the Standard-vs-Low profile toggle at the current shared tier (switchToStandardAtSharedTier, the same lever OffHighProf already reverts), so it no longer touches anything NightIobCeiling owns. |
| 136 | ActivityProf50 | Operational automation | ActivityProf50%: sets 50% profile for 180 min during the 6.8mmol Activity TT, BGL stable/falling. Corrected per user: the TT check is an exact match on 6.8mmol (not the 7.3-7.9mmol range this previously guarded on, which never matched the real Activity TT at all), using fuzzyEquals/mmolToMgdl. Also guards against Bolus2/BolusGiven71's own brief 6.8mmol post-bolus TT (same numeric value) via the shared Profile=Bolus state, so a 5-minute post-bolus TT can't be misread as an Activity session and trigger a 180-minute 50% profile drop. Note/SMS text corrected to match the screenshot exactly ("Ac50" / "ActivityProf50% Acce", not the old dynamic g=-value SMS text). 5-min floor throttle added on top of the precondition (see readyToRun() usage note). |
| 137 | ActivityOff | Operational automation | Code port of "ActivityOff 70_0.70 0.35": exit criteria for ActivityProf50%'s 50% profile drop — 3 branches (still on the 6.8mmol Activity TT but BGL climbed too high; TT already ended with BGL stabilising/rising and cannula not brand-new; or a bolus was just given). Restores ProfileReal, acce to 0.35, iobTH to 70%. Original action list had no CarePortal note, kept minimal to match exactly. |
| 138 | BolusGivenBg3BlockNote | Bolus/post-bolus | BolusGiven71_0.70: post-bolus response — boosts iobTH to 71%, acce 0.70, 110% for 10 min 5-min throttle. Three trigger blocks; only outer precondition is profile=100% + no TT. COB>=9 / acce>=0.20 / dura<acce are per-block (postBolusGate) for the manual-bolus branches (bg1/bg2); the SMB-driven branch (bg3) does NOT require them. ApsAutoIsfBoostAutomationsEnabled is the combined master switch for this WHOLE block (bg1/2/3) and BolusGivenMild below — one toggle disables both, per user request. Snapshot bg3 BEFORE this block's markRun: bg3BasicCriteriaMet() includes readyToRun("BolusGiven"/"BolusGivenBg3"), so a second call after markRun would always be false (same 2026-08-27 BMild bug). Also markRun("BolusGivenBg3") here so the TT-independent Tier 3 path still has a 5-min cadence when BolusGiven's own no-TT outer guard blocks the action-set. |
| 139 | TT57Reversal | Operational automation | TT 5.7 reversal block: replaces TToff2/3/4/5 and HypoTTOff1 automations, plus TT5.8New1/2/3 — screenshotted as "TT=5.8mmol" but ported here against the same 5.7 mmol guard per user confirmation (nothing in this file ever sets a 5.8 mmol TT; CarbsStopTT5.7's own cb3 branch already treats 102.7-104.5 mg/dL, i.e. 5.7-5.8 mmol, as the same TT). Primary guard: activeTtMgdl() must be ~5.7 mmol/L. Once TT is cancelled the guard fails, so these conditions self-prevent re-firing without needing readyToRun() throttle. All glucose/delta thresholds in mg/dL; originals in mmol/L in comments. 5-min floor throttle added on top of the TT-existence self-guard (see readyToRun() usage note). |
| 140 | PersistentRiseRelease | Operational automation | PersistentRiseRelease: new tier (2026-08-17), addresses a real gap found investigating a live episode -- off1-off5/new2/new3/mildConfirmed above all fire on a SINGLE CYCLE's own snapshot condition (delta/G/IOB crossing a threshold that cycle). A genuinely sustained but individually-mild rise (delta staying just above +0.10mmol for many consecutive minutes, never spiking hard enough to trip any single-cycle bar) can sit in the gap between all of them. Confirmed from real data: 4 separate 10-20 minute zero-SMB-during-sustained-rise episodes in one 6-hour window (2026-08-17). Deliberately standalone, NOT nested inside TT57Reversal's own TT-required guard above: one of those 4 episodes had NO TT active at all (acce weight already back at neutral 0.50) and still saw zero SMB for 12 minutes -- offsetSoZeroSMB/targetBgOffset alone was blocking, independent of any TT. |
| 141 | ActivityTTReversal | Operational automation | Activity TT reversal block: TT6.0New1/TT6.0New2 — exit criteria for the manually-set "Activity" temp target (GUI default ~6.8 mmol, sits inside this 6.5-7.6 mmol band). Nothing in this file creates a TT in this range; it's set by hand via the GUI. Self-guarding like the 5.7 TT block above: cancelling the TT fails the range guard next cycle. Original action lists were just "Send SMS" + "Stop temp target" — kept minimal to match exactly. 5-min floor throttle added on top of the TT-existence self-guard (see readyToRun() usage note). |
| 142 | T80Off3ok | Operational automation | T8.0Off3ok: exit criteria for the manually-set "hyp" temp target (8.0mmol for 20 min via GUI, per user confirmation — a separate TT from the 6.5-7.6mmol Activity band above). The screenshot's "Temp Target" bound checks were a misread per user correction: the real check is glucose reaching the TT's own 8.0mmol value, so this guards on the TT itself (~8.0mmol, same ±1.8mg/dL tolerance style as the 5.7mmol block). The inner OR keeps its original two-branch tradeoff — a lower glucose floor (6.5mmol) needs a steeper rise (0.3mmol) to compensate, vs a higher floor (7.0mmol) only needing a gentler rise (0.2mmol) — with no extra top-level glucose gate stacked on top of it. Original action list was just "Send SMS" + "Stop temp target". 5-min floor throttle added on top of the TT-existence self-guard (see readyToRun() usage note). |
| 143 | 50pcMakes5.7 | Operational automation | 50pc makes5.7: safety TT when on 50% profile and BGL dropping below 5.0 mmol Precondition: no TT active. Was purely self-guarding (relying on activeTtMgdl() != null next cycle), but the TT write can lag behind the next loop cycle's read, letting this re-fire within the same 5-min cycle before the guard takes effect. Added an explicit 10-min readyToRun() throttle on top of the self-guard to cover that race. |
| 144 | CarbsStopTT1 | Operational automation | carbsStopTT1ok4.4: cancel very-low TT (<=4.4 mmol) when carbs active and rising Self-guarding: cancels TT so tt<=79.3 is false next cycle. 5-min floor throttle added on top of the self-guard (see readyToRun() usage note). |
| 145 | CarbsStopTT57 | Operational automation | CarbsStopTT5.7: cancel 5.7 mmol TT when carbs up or recent bolus and BGL stable/rising Self-guarding: cancels TT so TT range checks fail next cycle. 5-min floor throttle added on top of the self-guard (see readyToRun() usage note). |
| 146 | Usual2forTH | Operational automation | Usual2forTH70: restores iobTH=70 and acce weight=0.50 when BGL has recovered Replaces "Usual2forTH70 CurrProfReal0.35" automation. Guard: profile at 100% (not in 50% state), iobTH still reduced (<70), no TT, BGL >= 5.5mmol. Self-guarding: sets iobTH=70 so condition iobThresholdPercent<70 fails next cycle. 5-min floor throttle added on top of the self-guard (see readyToRun() usage note). |
| 147 | CarbsTHoff | Operational automation | CarbsTHoff: sets iobTH to 70% when post-carb BGL is falling or mid-range anomaly (was 50%; raised to 70 to match the daytime floor so it isn't just bumped up again). 5-min floor throttle added on top of the preconditions (see readyToRun() usage note). |
| 148 | PreSoakSensor24hrs | Device/pump/sensor | Code port of "PreSoakSENSOR24hrs": reminds to pre-soak a new sensor ~14.0 or ~14.5 days into the current sensor's life. Two narrow ~0.1h match windows, each gated on cannula age <=80h (skip if the pod is also near end of life). Live-pump-only, matching the original's note. |
| 149 | SensorS1hr | Device/pump/sensor | Code port of "SENSOR at 14.9 days": narrow ~0.1h match window, gated on cannula age <=80h. Live-pump-only, matching the original's note. |
| 150 | SensorS2hr | Device/pump/sensor | Code port of "SENSOR at 14 days 22 hours due": narrow ~0.1h match window, gated on cannula age <=80h. Live-pump-only, matching the original's note. |
| 151 | Pod2 | Device/pump/sensor | Code port of "POD 78 hours": narrow ~0.1h match window during 08:00 AM-11:59 PM, permanently switches to Current ProfileReal and flags Profile state PP130. Live-pump-only, matching the original's note. |
| 152 | Pod1 | Device/pump/sensor | Code port of "POD 79 hours": narrow ~0.1h match window during 07:00 AM-11:59 PM. Live-pump-only, matching the original's note. (Original had a 2nd OR-branch, "Time BTW 12:03 AM & 12:03 AM", which is a zero-width/dead window under isTimeBetween's semantics — dropped per instruction, this now matches Pod2's single-AND-group structure.) |
| 153 | MJrecentCurrProfAcce | Mounjaro state | Code port of "MJ recent or Steps CurrProf Acce" (title kept the stale "Steps" reference, dropped here since the actual condition tree has no steps-count check at all — confirmed against the current automation dialog). No live-pump gate: the original's Note field was empty (no "not virtual pump" restriction specified for this one). Throttle raised 5 -> 480 min (8h) to serve as this block's SELF-LATCH, replacing the removed "!onCurrentProfile" gate. That gate was doing double duty: the switchProfileIfNeeded call below used to satisfy it, which is what stopped the block re-firing every 5 min for the rest of the 00:00-08:00 window. Dropping the profile switch (see below) removes that latch with it. |
| 154 | BasalUp | Operational automation | Code port of "BasalUp": raises acce weight back to neutral (0.50) and switches to Standard at the shared A/B/C letter when glucose is stable/rising outside a pod/MJ/ afternoon guard window, low activity, and currently on ANY Low-family profile (Current or ladder A/B/C -- not only Low Current's name). No live-pump gate: the original's Note field was empty. |
| 155 | MoreMJ | Mounjaro state | Code port of "MoreMJ": advances MJ state to MJ3 when acce weight is very low, activity is low, glucose is falling low on the 50% profile with no carbs and IOB still present. No live-pump gate: the original's Note field was empty. Outer window 06:00-00:00 (isTimeBetween(6,0,0,0) = 6am through end of day): MoreMJ should not apply overnight 00:00-06:00 at all -- this is the structural fix for the flip against MJoff's midnight block (00:00-01:00), since MoreMJ now simply cannot fire in that window regardless of the noRecentHighTrigger OR-path below (which has no time-of-day/BG gate of its own). Hysteresis: also locked out for 65 min after MJoff last fired (readyToRun on the "MJoff" timestamp) -- kept as a second line of defense for MJoff's OTHER block (12:00-21:04, high BG), which is inside this 06:00-00:00 window and so isn't covered by the gate above. |
| 156 | High6PPoff | Operational automation | Code port of "High6PPoff": exits the 120% boost when either no TT exists at 120%, or BGL/delta have stabilised in the evening window at 120%. No live-pump gate: the original's Note field was empty. |
| 157 | HighPP130Off | Operational automation | Code port of "HighPP130Off": exits the 130%/110% boost across 3 exit conditions (stabilised no-TT, falling with TT, or simply no-TT at all while boosted). Note: "or 110%". |
| 158 | AcceUp0.5 | Operational automation | Code port of "AcceUp0.5": raises acce weight to its boosted level (ApsAutoIsfBgAccelWeightHigh, not the resting baseline) when currently very low, BGL is stable/rising, no TT, and either MJ is clear or steroids are on. No live-pump gate: the original's Note field was empty. |
| 159 | RecentPodOff | Device/pump/sensor | Code port of "RecentPodOff": relaxes acce weight back to baseline once the RecentPod/OldPod2 safety TT has ended and acce weight is still at its boosted (ApsAutoIsfBgAccelWeightHigh) level. No live-pump gate: the original's Note field was empty. |
| 160 | ExerciseLimitAcce | Operational automation | Code port of "Exercise limit Acce": alerts when a fast rise coincides with high recent step activity. No live-pump gate: the original's Note field was empty. |
| 161 | ExportSettingsPodActivation | Device/pump/sensor | Code port of "ExportSettingsPodActivation": triggers a real encrypted settings backup (exportSettingsFor, faithfully mirroring ActionSettingsExport) when a new pod has been activated since the last export — mirrors TriggerPodChange's own "Pod activated" check (last CANNULA_CHANGE more recent than last SETTINGS_EXPORT). Live-pump-only, matching the original's note. |
| 162 | EveningIobCeiling | Operational automation | EveningIobCeiling: caps iobTH at 45% (60% if a real meal's been sustaining COB for 45+ min) from 22:00 to midnight, independent of BGL direction Motivated by 27 Jul 2026 21:48-21:59: nine SMBs ~60s apart took IOB 3.02 -> 4.56 at BG 10.7-11.3, and BG then fell to 3.8 by 04:38. Nothing stopped it -- the iobTH actually in force was 6.65-7.32U (~70-77% of max_iob), roughly 2U above where the harm occurred, and EveningTH could not fire because all its branches gate on a LOW BGL (<=7.5mmol) or on 22:00+. Deliberately separate from EveningTH rather than raising that block's BGL guard: EveningTH also sets acce 0.45 and (HP2-gated) switches to the low profile, and both of those are back-off actions that would be wrong applied to a genuine high -- blunting the acceleration response and weakening basal/ISF while BG is climbing risks trading an overnight low for an overnight high. |
| 163 | NightIobCeiling | Operational automation | NightIobCeiling: caps iobTH at 22% (35% if a real meal's been sustaining COB for 45+ min) from midnight to 06:00, independent of BGL Companion to EveningIobCeiling above, same ceiling-not-setter shape (only ever lowers), but a far tighter value because overnight there are no carbs to cover -- IOB that would be routine after a meal is dangerous at 03:00. Zero-COB cap raised 18→22 on 6 Sep 2026 (explicit request). Latch is iobTH > nightCap, so writing 22 still self-latches (22 > 22 is false). NightAcce writes the same 22 when BGL <= 6.0 / COB=0 / 01:00-06:00 (latch >=23 ¦¦ <=21). Same value, so they cannot ping-pong; this ceiling will not raise a tighter value (e.g. TwilightTH15's 15) back to 22. Motivated by the night of 6->7 Aug 2026, where BGL reached 3.5 and stayed there 04:00-05:30. |
| 164 | EarlyDawnSlowRise | Operational automation | EarlyDawnSlowRise: added 2026-09-18 at explicit request. Real 04:30-08:00 device data showed a genuine early climb (~04:15-05:20, 5.3->7.4mmol) followed by an oscillating 6-8mmol plateau (06:00-08:00) getting almost no correction (Req/SMB near 0 the whole window) because HighDaytimeBrake's own mid band doesn't open until 08:30 -- that start was deliberately pulled there on 7 Sep 2026 after a 06:14 fire once stacked IOB into a later low (see HighDaytimeBrake's own doc comment above), so widening it back was rejected in favor of this separate, narrower trigger instead. |
| 165 | MorningRoleSwap | Operational automation | MorningRoleSwapHigh / MorningRoleSwapNormal: added 2026-08-30 at explicit request, converted to a STEPPED ladder the same day per explicit follow-up spec. Both re-pick which real profile fills the Standard/Low roles (StringKey.ApsAutoIsfStandardProfileName/ApsAutoIsfLowProfileName the same preferences List1's own "Re-pick coded profiles" action writes), restricted to 03:00-07:00. Per explicit request: switches the ACTIVE running profile immediately too if it currently matches whichever role just got repointed (matching how the manual re-pick action behaves); the new role assignment itself is a standing change, NOT reverted at 07:00 -- stays in effect until something else re-picks it. Own readyToRun/markRun throttle (240 min) -- combined with the 4-hour 03:00-07:00 window, this means at most ONE step per morning, not a same-morning multi-step escalation. |
| 166 | LowBgTierAResetScan | Operational automation | LowBgTierAReset: 2026-09-02. Lookback (not live latch): if in the last 12 hours there was a continuous stretch of >10 min with loop BGL < 4.0 OR UKF1 BGL < 4.0, and during that stretch no StepsCount sample had steps60 > 1000, hard-reset both ladders to TierA. Fires even after BG has recovered; no-op if already on A. Scan throttled to 5 min (episode stays visible for up to 12h); action throttle stays 30 min inside resetStandardAndLowTiersToA. |
| 167 | EveningTH | Operational automation | LowBgTierAReset: 2026-09-02. Lookback (not live latch): if in the last 12 hours there was a continuous stretch of >10 min with loop BGL < 4.0 OR UKF1 BGL < 4.0, and during that stretch no StepsCount sample had steps60 > 1000, hard-reset both ladders to TierA. Fires even after BG has recovered; no-op if already on A. Scan throttled to 5 min (episode stays visible for up to 12h); action throttle stays 30 min inside resetStandardAndLowTiersToA. |
| 168 | TwilightTH15Acce | Operational automation | Code port of "TwilightTH15Acce0.50": drops iobTH to 15% and acce weight to 0.50 during a quiet early morning (low steps, flat/falling BGL) while iobTH sits in the 17-39% band. No live-pump gate: the original's Note field was empty. |
| 169 | NightAcce | Operational automation | Code port of "NightAcce_0.35TH22": overnight iobTH/acce reset to 22%/0.35 (plus a settings-export backup, reusing exportSettingsFor) when iobTH sits outside the 22% band, no carbs are active, and BGL is low. Write + latch raised 18→22 on 6 Sep 2026 to match NightIobCeiling (NtCap). Latch MUST stay a ±1 band around whatever this writes -- leaving (>=19 ¦¦ <=17) after writing 22 would re-arm every 5 min (22 >= 19). No live-pump gate: the original's Note field was empty. |
| 170 | SemiTwilightAcce | Operational automation | Code port of "SemiTwilightAcce_0.50TH16": drops acce weight to 0.50 and iobTH to 16% across 3 morning branches. Branch 3's iobTH check was screenshotted as AND(>17, <=15) — impossible as an AND (self-contradictory, always false). Per user confirmation the actual condition was a single "iobTH percent = 16" equality check, misread off the screenshot as two separate threshold rows. No live-pump gate: the original's Note field was empty. |
| 171 | ConnectPod | Device/pump/sensor | Code port of "ConnectPod": alerts when the pump hasn't reported in >=20 min during the day while the pod is still within its normal wear window. Mirrors TriggerPumpLastConnection (activePump.lastDataTime). Live-pump-only: "last connection to pump" is meaningless on the Virtual Pump. |
| 172 | Bolus2 | Bolus/post-bolus | Code port of "Bolus2": starts a brief 6.8mmol temp target after a bolus when BGL is falling fast post-bolus (branch 1), or when carbs are up and MJ is active shortly after a bolus (branch 2). Precondition: no TT active. No live-pump gate: the original's Note field was the user's own uncertainty comment ("not sure if auto needed"), not a virtual-pump restriction. SMS text kept literal ("BolusTTfor10mins") despite the action's actual 5 min duration — that mismatch is in the source automation, not introduced here. setAutomationState("Profile","Bolus") is an addition beyond the original screenshot's action list, per user instruction: this TT shares the exact same 6.8mmol value as the manually-set Activity TT, so without this marker ActivityProf50% could misread a brief 5-minute post-bolus TT as an Activity session and trigger its 180-minute 50% profile drop. |
| 173 | AlarmHypo1 | Hypoglycaemia protection | Code port of "AlarmHypo1 0.700.35": hypo alarm — 3 OR-branches (time-gated slow decline, an unconditional emergency floor at 3.0mmol with no time gate, and a steps-driven variant), drops acce weight to 0.10 and sets LowBG=50recent. (Used to also set BGLstate=BGLlastLOW; removed 2026-08-22 as a dead write -- BGLstate was a one-way latch never cleared anywhere, so it carried no information, and nothing read it any more.) |
| 174 | AlarmHypo2 | Hypoglycaemia protection | Code port of "AlarmHypo2 0.700.35": hypo alarm — single AND group, catches either G<=4.3mmol outright or G<=5.5mmol with recent exercise (Steps30>=1000) likely accelerating the drop. Sets LowBG=50recent, feeding the existing 50%-profile state machine (50SetRecent/Not50%Recently/Extra50%/PP50.Off). (Used to also set BGLstate=BGLlastLOW; removed 2026-08-22, see AlarmHypo1's comment above.) |
| 175 | StepsSteroidsOff | Steroid state | Code port of "Steps Steroids OFF": asserts Steroids=Steroids Off based on sustained activity with moderate IOB, controlled glucose, and no carbs. Per user confirmation, this is the automation that actually sets the Steroids state (previously only ever read as a precondition elsewhere in this file, never set) — Steroids ON is a manual user action, no automated counterpart needed. |
| 176 | Sub75HeavyDelivery | Operational automation | Sub75HeavyDelivery: arms a hard 10-min cooldown once smbSum10Min() exceeds 1.5U (raised from 1.0U 2026-08-31) while glucose is still under 7.5mmol -- see determine_basal()'s sub75HeavyDeliveryCooldown param (DetermineBasalAutoISF.kt) for the two real events (4.4mmol, sustained 4.5mmol) this is anchored on. Deliberately a plain markRun/readyToRun cooldown, not another rolling-window amount cap like smbSum10Min/30Min below it -- this forces a genuine pause instead of re-permitting delivery the instant the oldest minute ages out of its own window, giving already-delivered insulin time to actually show up in BG before more goes in. Careportal note is "sc7.5" (renamed from "Sub75Cap" 2026-08-31); the internal throttle key stays "Sub75HeavyDelivery" (not user-visible, referenced in several places). |
| 177 | UkfSet1DeltaMetricsLog | Operational automation | Sub75HeavyDelivery: arms a hard 10-min cooldown once smbSum10Min() exceeds 1.5U (raised from 1.0U 2026-08-31) while glucose is still under 7.5mmol -- see determine_basal()'s sub75HeavyDeliveryCooldown param (DetermineBasalAutoISF.kt) for the two real events (4.4mmol, sustained 4.5mmol) this is anchored on. Deliberately a plain markRun/readyToRun cooldown, not another rolling-window amount cap like smbSum10Min/30Min below it -- this forces a genuine pause instead of re-permitting delivery the instant the oldest minute ages out of its own window, giving already-delivered insulin time to actually show up in BG before more goes in. Careportal note is "sc7.5" (renamed from "Sub75Cap" 2026-08-31); the internal throttle key stays "Sub75HeavyDelivery" (not user-visible, referenced in several places). |
| 178 | LibreSpecialShadowMetricsLog | Operational automation | Sub75HeavyDelivery: arms a hard 10-min cooldown once smbSum10Min() exceeds 1.5U (raised from 1.0U 2026-08-31) while glucose is still under 7.5mmol -- see determine_basal()'s sub75HeavyDeliveryCooldown param (DetermineBasalAutoISF.kt) for the two real events (4.4mmol, sustained 4.5mmol) this is anchored on. Deliberately a plain markRun/readyToRun cooldown, not another rolling-window amount cap like smbSum10Min/30Min below it -- this forces a genuine pause instead of re-permitting delivery the instant the oldest minute ages out of its own window, giving already-delivered insulin time to actually show up in BG before more goes in. Careportal note is "sc7.5" (renamed from "Sub75Cap" 2026-08-31); the internal throttle key stays "Sub75HeavyDelivery" (not user-visible, referenced in several places). |
| 179 | Ukf1DeltaMetricsLog | Operational automation | Loop drop-crossing every cycle so UKF1's DropDetected lead/lag has a same-phone reference on Live as well as Virtual (was inside the Virtual-only gate above). |
| 180 | UamBoostHiBrkBlockNote | Operational automation | instead of calling bmildBasicCriteriaMet() fresh here -- see that val's own doc comment for why a second call in the same cycle always returned false. 2026-09-03 after Client 09:08 UamBst 1.10U under HiBrkDayMid's own 4.0 TT + SMBdel 0.24 (BG 6.8, SDelta 0.06, RawUKF15 0.18); restored the same day after a later hypo. Block Tier 3 only while the rise is still modest -- BMild/bg3 action-sets are untouched. Missing UKF-raw 15-min (null) fails open so a sensor gap cannot itself suppress. |